## Kalkulácia
Návrh na plnenie kritérií - Servisné práce pre systém TXS
Spoločnosť:
Sídlo:
Kontaktná osoba uchádzača pre elektronickú aukciu:
Tel. číslo
Email:
| Poradové číslo položky | Názov položky | Číslo ND | MJ | Predpokladaný počet MJ počas trvania Zmluvy | Jednotková cena v EUR bez DPH | Celková cena v EUR bez DPH
| 1 | Hotline podpora 8/5 |  | ročný paušál | 3 |  | 0
| 2 | Ročné stretnutia |  | JV | 3 |  | 0
| 3 | Manažér zmluvy |  | ročný paušál | 3 |  | 0
| 4 | výkon činnosti - projektant a technik, QA operátor, testovací personál, junior inžinier |  | HZS | 1 |  | 0
| 5 | výkon činnosti - inžinier a technik, systémový programátor, QA inšpektor |  | HZS | 1 |  | 0
| 6 | výkon činnosti - projektový inžinier, systémový konzultant, QA Expert |  | HZS | 1 |  | 0
| 7 | výkon činnosti - projektový manažér, systémový špecialista |  | HZS | 1 |  | 0
| 8 | výkon činnosti - vedecký odborník |  | HZS | 1 |  | 0
| 9 | Doprava do miesta plnenia a späť (uplatňuje sa pre výkony činnosti špecialistov, t.j. položky č. 4, 5, 6, 7, 8) uchádzač uvedie počet km do miesta plnenia späť a cenu za km : ......... km x .......... € |  | km | 1 |  | 0
| 10 | preprava zariadenia do miesta vykonania opravy a naspäť k Objednávateľovi |  | JV | 1 |  | 0
Cenník pre HW komponenty existujúceho systému
| 11 | MS-SC6622-SFM Mounting set "air filter mats" Two air filter mats and mounting materials For the SC6622 | 6FK5520-8AA04 | ks | 1 |  | 0
| 12 | MS-SC9422-AUXFRAME Auxiliary frame Enables bolted fastening of cabinet SC9422 to the plant | 6FK5529-8AA01 | ks | 1 |  | 0
| 13 | SFAN1 Fan Module One fan unit with three fans and temperaturecontrolled speed control | 6FK5547-8CA | ks | 1 |  | 0
| 14 | SFAN2 Fan Module Two fan units with three fans and temperature controlled-speed control each | 6FK5548-8CA | ks | 1 |  | 0
| 15 | SCM11 Connection Module For signals / supply voltages up to 230 V Mounting depth: 160 mm | 6FK5580-8AA03 | ks | 1 |  | 0
| 16 | SCM21 Connection Module For signals / supply voltages up to 230 V Mounting depth: 70 mm | 6FK5580-8AA04 | ks | 1 |  | 0
| 17 | SCM3 Connection Module For connecting supply and signal cables to a subrack from the front | 6FK5580-8AA05 | ks | 1 |  | 0
| 18 | SMR1-15kΩ For wire-break monitoring for binary inputs and outputs and sensor supply voltages | 6FK5951-8AA01 | ks | 1 |  | 0
| 19 | SMR1-30kΩ For wire-break monitoring for binary inputs and outputs and sensor supply voltages | 6FK5951-8AA02 | ks | 1 |  | 0
| 20 | SPDM1 Potential Distribution Module Mounting depth: 160 mm | 6FK5582-8AA01 | ks | 1 |  | 0
| 21 | SPDM2 Potential Distribution Module Mounting depth: 70 mm | 6FK5582-8AA02 | ks | 1 |  | 0
| 22 | SPH11 Placeholder for SPLM1-PC11 | 6FK5331-8AA09 | ks | 1 |  | 0
| 23 | SPH20 Placeholder for ESS20 or SESS20 | 6FK5630-8AA | ks | 1 |  | 0
| 24 | SPM1 Plug Module 48-pin socket connector For the routing and multiplication of potentials Mounting depth: 160 mm | 6FK5581-8AA01 | ks | 1 |  | 0
| 25 | SPM2 Plug Module 48-pin socket connector For the routing and multiplication of potentials Mounting depth: 70 mm | 6FK5581-8AA02 | ks | 1 |  | 0
| 26 | SPM11 Plug Module Two SUB-D plug connectors For converting Sub-D to wire-wrap and vise-versa Mounting depth: 160 mm | 6FK5581-8AA03 | ks | 1 |  | 0
| 27 | SPM21 Plug Module Two SUB-D plug connectors For converting Sub-D to wire-wrap and vise-versa Mounting depth: 70 mm | 6FK5581-8AA04 | ks | 1 |  | 0
| 28 | SPM16 Plug Module Two coaxial plug connectors For neutron-flux / radiation and activity measurement Mounting depth: 160 mm | 6FK5581-8AA05 | ks | 1 |  | 0
| 29 | SPM26 Plug Module Two coaxial plug connectors For neutron-flux / radiation and activity measurement Mounting depth: 70 mm | 6FK5581-8AA06 | ks | 1 |  | 0
| 30 | SPM17 Plug Module Two coaxial socket connectors For neutron-flux / radiation and activity measurement Mounting depth: 160 mm | 6FK5581-8AA07 | ks | 1 |  | 0
| 31 | SPM27 Plug Module Two coaxial socket connectors For neutron-flux / radiation and activity measurement Mounting depth: 70 mm | 6FK5581-8AA08 | ks | 1 |  | 0
| 32 | SPM28 Plug Module 12-pin system connector For SPN detectors Mounting depth: 70 mm | 6FK5581-8AA10 | ks | 1 |  | 0
| 33 | SRM10 Resistor module Four resistor groups Resistor values have to be included in the order | 6FK5332-8AA20-Z | ks | 1 |  | 0
| 34 | STT1-PT100 Temperature sensor PT100 | 6FK7202-8AA01 | ks | 1 |  | 0
| 35 | SBU1 Interface Module LEBUS | 6FK5205-8BA | ks | 1 |  | 0
| 36 | SCP3 Communication Processor for TXS Ethernet 100 Mbit/s, with AMD-Processor K6-2E+ 500 MHz 19” standard packaging system | 6FK5301-8BF | ks | 1 |  | 0
| 37 | SES1 TXS Ethernet Switch Transmission rate 10/100 Mbit/s 3 electrical ports with RJ45 connector 2 optical ports with duplex SC connectors | 6FK5384-8AA | ks | 1 |  | 0
| 38 | SKO1 Communication Module LEBUS Piggyback module for SVE2 19” standard packaging system | 6FK5204-8BA | ks | 1 |  | 0
| 39 | SLM2 Profibus Link Module Transmission rate: 12 Mbit/s | 6FK5381-8AA | ks | 1 |  | 0
| 40 | SL22 Communication Module for TXS Profibus Transmission rate: 12 Mbit/s Piggyback module for SVE2 19” standard packaging system | 6FK5302-8BA | ks | 1 |  | 0
| 41 | SVE2 Processing Module with AMD-Processor K6-2E+ 500 MHZ 19” standard packaging system | 6FK5206-8BF | ks | 1 |  | 0
| 42 | SPCG1 TELEPERM XS PC Gateway One gateway computer in a 19” rack | 6FK5751-8AA01 | ks | 1 |  | 0
| 43 | SPCG2 TELEPERM XS PC Gateway Two gateway computers in a 19” rack | 6FK5751-8AB01 | ks | 1 |  | 0
| 44 | SPCS1 TELEPERM XS PC Service Unit One service unit computer in a 19” rack | 6FK5752-8AA01 | ks | 1 |  | 0
| 45 | SPCS2 TELEPERM XS PC Service Unit Two service unit computers in a 19” rack | 6FK5752-8AB01 | ks | 1 |  | 0
| 46 | SAI1 Analog Input Module 8 differential inputs or 16 single-ended inputs 19” standard packaging system | 6FK5313-8BA10 | ks | 1 |  | 0
| 47 | SAO1 Analog Output Module 8 outputs 19” standard packaging system | 6FK5314-8BA10 | ks | 1 |  | 0
| 48 | SDI1-24 Digital Input Module 32 inputs: 24 V DC / 7 mA 19” standard packaging system | 6FK5311-8BA10 | ks | 1 |  | 0
| 49 | SDI1-24 Digital Input Module 32 inputs: 24 V DC / 7 mA 19” standard packaging system | 6FK5311-8BA10 | ks | 1 |  | 0
| 50 | SDI2-24 Digital Input Module 32 inputs: 24 V DC / 0,7 mA 19” standard packaging system | 6FK5316-8BA10 | ks | 1 |  | 0
| 51 | SDO1-24 Digital Output Module 32 outputs: 24 V DC / 500 mA 19” standard packaging system | 6FK5312-8BA10 | ks | 1 |  | 0
| 52 | SGPIO1 General Purpose Input Output Module - 4 counter inputs - 4 analog inputs: -10 ... +10V 19” standard packaging system | 6FK5315-8BA10 | ks | 1 |  | 0
| 53 | SAA1 Analog Signal Module 2 channels | 6FK5248-8BA | ks | 1 |  | 0
| 54 | SBC1 Binary Signal Conditioning | 6FK5326-8AA00 | ks | 1 |  | 0
| 55 | SNV1-2.5 Standard Signal Multiplier Input signal: 2,5 V | 6FK5250-8AA01 | ks | 1 |  | 0
| 56 | SNV1-10 Standard Signal Multiplier Input signal: 10 V | 6FK5250-8AA02 | ks | 1 |  | 0
| 57 | SSC1 Signal Conditioning for Speed Sensors Input signal level for active sensors: 5 VPEAK | 6FK5341-8AA01 | ks | 1 |  | 0
| 58 | SSC1 Signal Conditioning for Speed Sensors Input signal level for active sensors has to be specified in the order (10 … 140 VPEAK) | 6FK5341-8AA08-Z | ks | 1 |  | 0
| 59 | STT1 Temperature Transducer | 6FK7201-8AA01 | ks | 1 |  | 0
| 60 | SDM1 Signal Isolation | 6FK5332-8AA01 | ks | 1 |  | 0
| 61 | SDM2 Signal Isolation and Logic Operation (for SVE2 monitoring) | 6FK5332-8AA02 | ks | 1 |  | 0
| 62 | SDM3 Signal Isolation with Diagnostic Interface (28 outputs on Sub-D socket connector) | 6FK5332-8AA03 | ks | 1 |  | 0
| 63 | SDM4 Insertion Monitoring Insertion monitoring and output of monitoring signals via a Sub-D connector | 6FK5332-8AA04 | ks | 1 |  | 0
| 64 | SDM31 Signal Isolation with Diagnostic Interface Interface to TDI1-Ext (8 outputs, 16 inputs on Sub-D socket connector) | 6FK5332-8AA06 | ks | 1 |  | 0
| 65 | SDM32 Signal Isolation with Diagnostic Interface (28 ouputs, resistance 100 Ω) | 6FK5332-8AA07 | ks | 1 |  | 0
| 66 | SOB1-24 Overvoltage Barrier For analog and 24 V binary signals | 6FK5325-8AA01 | ks | 1 |  | 0
| 67 | SOB1-48 Overvoltage Barrier For analog and 48 V binary signals | 6FK5325-8AA02 | ks | 1 |  | 0
| 68 | SOB2-24 Overvoltage Barrier For 24 V binary input signals | 6FK5325-8AA03 | ks | 1 |  | 0
| 69 | SOB2-48 Overvoltage Barrier For binary 48 V input signal | 6FK5325-8AA04 | ks | 1 |  | 0
| 70 | SOB3 Overvoltage Barrier For binary 24 V / 48 V output signals | 6FK5325-8AA05 | ks | 1 |  | 0
| 71 | SOB31-24 Overvoltage Barrier For analog and binary 24 V output signals | 6FK5325-8AA06 | ks | 1 |  | 0
| 72 | SOB1-400-24 Overvoltage Barrier For analog and binary 24 V signals | 6FK5325-8BB41 | ks | 1 |  | 0
| 73 | SOB1-400-48 Overvoltage Barrier Protection against overvoltage from the AC 230/400 V, AC 400/690 V, and DC 220 V grids Max. overvoltage: 400 V For analog and binary 48 V signals | 6FK5325-8BB42 | ks | 1 |  | 0
| 74 | SOB2-400-24 Overvoltage Barrier For binary 24 V input signals | 6FK5325-8BB43 | ks | 1 |  | 0
| 75 | SOB2-400-48 Overvoltage Barrier Protection against overvoltage from the AC 230/400 V, AC 400/690 V, and DC 220 V grids Max. overvoltage: 400 V For binary 48 V input signal | 6FK5325-8BB44 | ks | 1 |  | 0
| 76 | SOB3-400-24 Overvoltage Barrier Protection against overvoltage from the AC 230/400 V, AC 400/690 V, and DC 220 V grids Max. overvoltage: 400 V For binary 24 V output signals | 6FK5325-8BB45 | ks | 1 |  | 0
| 77 | SOB31-400-24 Overvoltage Barrier Protection against overvoltage from the AC 230/400 V, AC 400/690 V, and DC 220 V grids Max. overvoltage: 400 V For binary 24 V output signals with an increased resistance in the signal path | 6FK5325-8BB46 | ks | 1 |  | 0
| 78 | SOB6-400-24 Overvoltage Barrier Protection against overvoltage from the AC 230/400 V, AC 400/690 V, and DC 220 V grids Max. overvoltage: 400 V For 24 V power supplies with load currents up to 0,5 A | 6FK5325-8BB47 | ks | 1 |  | 0
| 79 | SOB11-400-24 Overvoltage Barrier Protection against overvoltage from the AC 230/400 V, AC 400/690 V, and DC 220 V grids Max. overvoltage: 400 V For binary input signals of the FUM210 and FUM280 modules of the SPPA-T2000 system platform | 6FK5325-8BB48 | ks | 1 |  | 0
| 80 | SOB21-400-24 Overvoltage Barrier Protection against overvoltage from the AC 230/400 V, AC 400/690 V, and DC 220 V grids Max. overvoltage: 400 V For the "command output valid" (switched reference ground) input associated with the output commands of the FUM210 module of the SPPA-T2000 system platform | 6FK5325-8BB49 | ks | 1 |  | 0
| 81 | SOB22-400-24 Overvoltage Barrier Protection against overvoltage from the AC 230/400 V, AC 400/690 V, and DC 220 V grids Max. overvoltage: 400 V For analog input signals of the FUM230 and FUM280 modules of the SPPA-T2000 system platform | 6FK5325-8BB50 | ks | 1 |  | 0
| 82 | SOB-DUMMY1 Dummy for test field and commissioning without test plug | 6FK5325-8AA91 | ks | 1 |  | 0
| 83 | SOB-DUMMY2 Dummy for test field and commissioning with test plug | 6FK5325-8AA92 | ks | 1 |  | 0
| 84 | SOB-DUMMY-P Dummy for test field and commissioning for SOB6-400-24 | 6FK5325-8AA93 | ks | 1 |  | 0
| 85 | SPAM1 Programmable Analog Signal Processing Module | 6FK5327-8AA00 | ks | 1 |  | 0
| 86 | SRB1 Relay Module Medium switching capacity | 6FK5245-8BA | ks | 1 |  | 0
| 87 | SRB2 Relay Module Low switching capacity | 6FK5246-8BA | ks | 1 |  | 0
| 88 | SSI1 Fusing Module | 6FK5247-8BA | ks | 1 |  | 0
| 89 | AV42 Priority Module | 6FK5249-8DA | ks | 1 |  | 0
| 90 | AV42 Priority Module | 6FK5249-8EA | ks | 1 |  | 0
| 91 | AV42E Priority Module | 6FK5249-8AA01 | ks | 1 |  | 0
| 92 | SCR1 Analog signal conditioning for control rod position measurement | 6FK5352-8BA01 | ks | 1 |  | 0
| 93 | SCR1 Analog signal conditioning for control rod position measurement For EPR projects | 6FK5352-8EA01 | ks | 1 |  | 0
| 94 | SBLR1-P Base Line Rectifier For positive input pulses | 6FK5361-8AA02 | ks | 1 |  | 0
| 95 | SBLR1-N Base Line Rectifier For negative input pulses | 6FK5361-8AA03 | ks | 1 |  | 0
| 96 | SCV1B Current-to- voltage converter (μA range) with detector supply Measuring range: 30 nA … 10 mA | 6FK5351-8AB | ks | 1 |  | 0
| 97 | SCV1P Current-to-voltage convert (μA range) Measuring range: 30 nA … 10 mA | 6FK5351-8AA | ks | 1 |  | 0
| 98 | SCV2 Direct-Current Amplifier Measuring range: 1 pA … 1 mA | 6FK5353-8AA | ks | 1 |  | 0
| 99 | SHV1-N High-Voltage Generator -1,5 kV | 6FK5357-8BA01 | ks | 1 |  | 0
| 100 | SHV1-P High-Voltage Generator +1,5 kV | 6FK5357-8BA00 | ks | 1 |  | 0
| 101 | SHV2-P High-Voltage Generator +4,25 kV | 6FK5358-8BA00 | ks | 1 |  | 0
| 102 | SHV11-N High-Voltage Generator -0,9 kV | 6FK5357-8AA03 | ks | 1 |  | 0
| 103 | SHV11-P High-Voltage Generator 0,9 kV | 6FK5357-8AA02 | ks | 1 |  | 0
| 104 | SPSR1 Source-Range Preamplifier Input impedance: 50Ω | 6FK5359-8AA00 | ks | 1 |  | 0
| 105 | SPSR1 Source-Range Preamplifier Input impedance: 75Ω | 6FK5359-8BA00 | ks | 1 |  | 0
| 106 | SPWR1 Wide-Range Preamplifier Input impedance: 50 Ω | 6FK5360-8AA00 | ks | 1 |  | 0
| 107 | SPWR1 Wide-Range Preamplifier Input impedance: 75 Ω | 6FK5360-8AA00 | ks | 1 |  | 0
| 108 | SSR1 Source-Range Amplifier | 6FK5354-8AA | ks | 1 |  | 0
| 109 | STG1 Test Signal Generator | 6FK5355-8BA | ks | 1 |  | 0
| 110 | SWR1 Wide-Range Amplifier | 6FK5356-8AA | ks | 1 |  | 0
| 111 | SPLM1-AL10 Alarm Logic Module | 6FK5331-8AA10 | ks | 1 |  | 0
| 112 | SPLM1-AL10R Alarm Logic Module With automatic acknowledgement Without wire-break monitoring | 6FK5331-8AA11 | ks | 1 |  | 0
| 113 | SPLM1-BL10 Basic Logic Module | 6FK5331-8AA05 | ks | 1 |  | 0
| 114 | SPLM1-PC11 Priority Control Priority control function divers to the priority control modules | 6FK5331-8AA12 | ks | 1 |  | 0
| 115 | SPLM2-CMU1 Cabinet Monitoring Module | 6FK5333-8AA01 | ks | 1 |  | 0
| 116 | SPLM2-MU10 Monitoring Module | 6FK5333-8AA02 | ks | 1 |  | 0
| 117 | SIC1 Instrument carrier module for rail modules | 6FK5512-8AA01 | ks | 1 |  | 0
| 118 | SIC2 Instrument carrier module with circuit-breaker (type of circuit-breaker to be specified in the order) | 6FK5512-8AA01 | ks | 1 |  | 0
| 119 | SIC3 Signaling module (1 pushbutton / 16 LED lamps, red) | 6FK5512-8AB03 | ks | 1 |  | 0
| 120 | SIC4 Signaling module (2 pushbutton / 12 LED lamps, red) | 6FK5512-8AB04 | ks | 1 |  | 0
| 121 | SIC5 Signaling module (18 LEDs, red) | 6FK5512-8AB05 | ks | 1 |  | 0
| 122 | SIC61 Instrument carrier module with 3 key switches, The desired fitting must be stated in the order: - Lock type: e.g. Standard 311 - Tumbler arrangement - Switch type: momentary / maintained - Key removable in position: A / A+C / C | 6FK5512-8AA09-Z | ks | 1 |  | 0
| 123 | SIC8 Pushbutton module with 4 pushbuttons, The desired fitting must be stated in the order: - Wiring variant: two NC, two NO, one NC / one NO per pushbutton - Switch type: momentary, maintained - Cover color(s): white / red / orange / yellow / green / blue | 6FK5512-8AA11-Z | ks | 1 |  | 0
| 124 | SMM1 Monitoring Module | 6FK5545-8CA | ks | 1 |  | 0
| 125 | SCB1 Capacitor Bank | 6FK5546-8AA | ks | 1 |  | 0
| 126 | SCBU2 Circuit Breaker Unit 2 U subrack for ESS20 and SESS20 electronic circuit breakers | 6FK5532-8BA | ks | 1 |  | 0
| 127 | SCSU1 Cabinet Supply Unit 24 V DC; 3 U subrack for SSF1, SSD1 | 6FK5535-8AA01 | ks | 1 |  | 0
| 128 | SCSU2 Cabinet Supply Unit 110 – 230 V; 3 U subrack for SPS4 / SPS5 / SPS6 and SSD2 | 6FK5536-8AA01 | ks | 1 |  | 0
| 129 | SEC1 Electronic circuit breaker module for small currents | 6FK5553-8AA01 | ks | 1 |  | 0
| 130 | SESS20 Electronic Circuit-Breaker for 24 V DC without overvoltage protection circuitry Current rating: 0,5 A | SESS20-003- DC24V-0,5A-T | ks | 1 |  | 0
| 131 | SESS20 Electronic Circuit-Breaker for 24 V DC without overvoltage protector circuitry Current rating: 1 A | SESS20-003- DC24V-1A-T | ks | 1 |  | 0
| 132 | SESS20 Electronic Circuit-Breaker for 24 V DC without overvoltage protector circuitry Current rating: 2 A | SESS20-003- DC24V-2A-T | ks | 1 |  | 0
| 133 | SESS20 Electronic Circuit-Breaker for 24 V DC without overvoltage protector circuitry Current rating: 3 A | SESS20-003- DC24V-3A-T | ks | 1 |  | 0
| 134 | SESS20 Electronic Circuit-Breaker for 24 V DC without overvoltage protector circuitry Current rating: 4 A | SESS20-003- DC24V-4A-T | ks | 1 |  | 0
| 135 | SESS20 Electronic Circuit-Breaker for 24 V DC without overvoltage protector circuitry Current rating: 8 A | SESS20-003- DC24V-8A-T | ks | 1 |  | 0
| 136 | SPS1 Power Supply Module 24 V DC // 24 V DC, 5 A | 6FK5542-8AA | ks | 1 |  | 0
| 137 | SPS2 Power Supply Module 24 V DC // 5 V DC, 20 A | 6FK5543-8AA | ks | 1 |  | 0
| 138 | SPS3 Power Supply Module 24V DC // 12V DC, 2A | 6FK5544-8AA | ks | 1 |  | 0
| 139 | SPS4 Power Supply Module 230 V AC // 24 V DC, 5 A | 6FK5549-8AA | ks | 1 |  | 0
| 140 | SPS10 Power Supply Module 24V DC // 12V DC, 100W | 6FK5549-8AA | ks | 1 |  | 0
| 141 | SPS10 Power Supply Module 24V DC // 12V DC, 100W | 6FK5541-8AA | ks | 1 |  | 0
| 142 | SSD2 Supply Diode Module For SCSU2 | 6FK5551-8AA00 | ks | 1 |  | 0
| 143 | SSF2 Supply Filter Module 24 V with integrated TVS diode For SCSU1 | 6FK5539-8AA | ks | 1 |  | 0
| 144 | TDI1 Diagnostics Interface including: - Power supply 115 / 230 V AC - Connection cable 2 x 37-pole Sub D (male) - Connection cable 25-pole Sub D (male, female) - Connection cable 2 x RJ10 (male) - Connection cable RS232 (male, female) - TDI1 I/O-panel | 6FK5981-8AA01 | ks | 1 |  | 0
| 145 | TDI1-Ext Diagnostic Interface Extender including: - Power supply 115 / 230 V AC - Connection cable 2 x 37-pin Sub D (male) for SDM31 - Connection cable 2 x RJ10 (male) to TDI1 | 6FK5982-8AA01 | ks | 1 |  | 0
| 146 | TDI1-BIN-Ext Diagnostic Interface Binary Extender including: - Connection cable 48-pin to 50-pin Sub-D (male) for SPM1 / SPM2 - Connection cable 2 x RJ10 (male) - Power supply cable 7.5 V - 2 x Power supply cable 24 V | 6FK5984-8AA01 | ks | 1 |  | 0
| 147 | QDS Subrack 19" compactPCI SubRack, 1U for 19" / 48.3 cm mounting systems 2-slot system alarm relay set, 24 V DC power supply 300 W with fan monitoring | 6FK5710-8CA | ks | 1 |  | 0
| 148 | QDS CPU board compactPCI PC-Board with Pentium M 1.6MHz 1GB DDR SDRAM 1Gbyte FlashDrive 2,5" Front VGA 2x Front GigaByte Ethernet Front USB | 6FK5711-8CA | ks | 1 |  | 0
| 149 | QDS Display 19" touchscreen (resistive) for 19" / 48,3 cm mounting systems resolution 280*1024 (SXGA) VGA input 24V DC power supply | 6FK5712-8CA | ks | 1 |  | 0
| 150 | QDS Keyboard 19" industrial keyboard with 50 mm optical trackball IP 65 at the front side | 6FK5713-8CA | ks | 1 |  | 0
Cenník pre náhradné diely
| 151 | ARB20 Bus Arbiter | 6FK5614-8AA | ks | 1 |  | 0
| 152 | ARB21 Bus Arbiter | 6FK5540-8AA10 | ks | 1 |  | 0
| 153 | SBG5 Subrack for TXS computers, 21 slots For installation in STS42-x/EMV | 6FK5407-8AA | ks | 1 |  | 0
| 154 | SBG6 Subrack for TXS computers, 2 x10 slots For installation in STS42-x/EMV | 6FK5408-8AA | ks | 1 |  | 0
| 155 | SBGA1 Power supply adapter for SBG1 and SBG3 | 6FK5409-8AA01 | ks | 1 |  | 0
| 156 | SBGA2 Power supply adapter for SBG2 and SBG4 | 6FK5409-8AA02 | ks | 1 |  | 0
| 157 | SBGAF1 Fan unit for the SBG1 with SBGA1 | 6FK5615-8CA | ks | 1 |  | 0
| 158 | SBGAF2 Fan unit for the SBG2 with SBGA2 | 6FK5616-8CA | ks | 1 |  | 0
| 159 | SBGAF3 Fan unit for the SBG3 with SBGA1 | 6FK5617-8CA | ks | 1 |  | 0
| 160 | SBGAF4 Fan unit for the SBG4 with SBGA4 | 6FK5618-8CA | ks | 1 |  | 0
| 161 | SFAN1 Fan Module One fan unit with three fans and temperaturecontrolled speed control | 6FK5547-8AA | ks | 1 |  | 0
| 162 | SFAN1 Fan Module One fan unit with three fans and temperaturecontrolled speed control For SR-SFAN | 6FK5547-8BA | ks | 1 |  | 0
| 163 | SFAN1 Fan Module One fan unit with three fans and temperaturecontrolled speed control For SBG5 subracks | 6FK5547-8BB | ks | 1 |  | 0
| 164 | SFAN2 Fan Module Two fan units with three fans and temperature controlled-speed control each | 6FK5548-8AA | ks | 1 |  | 0
| 165 | SFAN2 Fan Module Two fan units with three fans and temperature controlled-speed control each For SR-SFAN | 6FK5548-8BA | ks | 1 |  | 0
| 166 | SFAN2 Fan Module Two fan units with three fans and temperature controlled-speed control each For SBG6 subracks | 6FK5548-8BB | ks | 1 |  | 0
| 167 | SRACK1 Subrack for TXS computers With K32-100 TXS Backplane, 21 slots | 6FK5501-8AA01 | ks | 1 |  | 0
| 168 | SRACK2 Subrack for TXS computers With two K32-50 TXS Backplanes, 2x10 slots | 6FK5502-8AA01 | ks | 1 |  | 0
| 169 | SBU1 Interface Module LEBUS For installation in SBGx | 6FK5205-8AA-Z | ks | 1 |  | 0
| 170 | SCP3 Communication Processor for TXS Ethernet 100 Mbit/s, with AMD processor K6-2E+, 500 MHz For installation in SBGx | 6FK5301-8AF | ks | 1 |  | 0
| 171 | SEH1 Ethernet Hub | 6FK5383-8AA | ks | 1 |  | 0
| 172 | SET1 Ethernet Transceiver | 6FK5382-8AA | ks | 1 |  | 0
| 173 | SHO1 Optical Transceiver | 6FK5232-8BA | ks | 1 |  | 0
| 174 | SHO2 Fiber-optic Transceiver | 6FK5233-8BA | ks | 1 |  | 0
| 175 | SHT2 Twin Transceiver | 6FK5231-8BA | ks | 1 |  | 0
| 176 | SHT2 Twin Transceiver | 6FK5231-8CA | ks | 1 |  | 0
| 177 | SKO1 Communication Module LEBUS Piggyback module for SVE2 For installation in SBGx | 6FK5204-8AA-Z | ks | 1 |  | 0
| 178 | SL22 Communication Module for TXS Profibus Transmission rate: 12 Mbit/s Piggyback module for SVE2 For installation in SBGx | 6FK5302-8AA | ks | 1 |  | 0
| 179 | SLLM L2 Link Module | 6FK5243-8AA | ks | 1 |  | 0
| 180 | SVE2 Processing Module with AMD processor K6-2E+, 500 MHz For installation in SBGx | 6FK5206-8AF | ks | 1 |  | 0
| 181 | SVE2 Processing Module with AMD processor K6-2E, 266 MHz For installation in SBGx | 6FK5206-8AA | ks | 1 |  | 0
| 182 | S458 Digital Output Module, Relay | 6FK5216-8AA | ks | 1 |  | 0
| 183 | S460 Analog Input Module, Integrating | 6FK5220-8AA | ks | 1 |  | 0
| 184 | S706 Counter Module | 6FK5211-8AA | ks | 1 |  | 0
| 185 | SAI1 Analog Input Module 8 differential inputs or 16 single-ended inputs 19” standard packaging system | 6FK5313-8AA10 | ks | 1 |  | 0
| 186 | SAI1 Analog Input Module 8 differential inputs or 16 single-ended inputs For installation in SBGx | 6FK5313-8AA30 | ks | 1 |  | 0
| 187 | SAO1 Analog Output Module 8 outputs 19” standard packaging system | 6FK5314-8AA10 | ks | 1 |  | 0
| 188 | SAO1 Analog Output Module 8 outputs For installation in SBGx | 6FK5314-8AA30 | ks | 1 |  | 0
| 189 | SDI1-24 Digital Input Module 32 inputs: 24 V DC / 7 mA 19” standard packaging system | 6FK5311-8AA10 | ks | 1 |  | 0
| 190 | SDI1-24 Digital Input Module 32 inputs: 24 V DC / 7 mA For installation in SBGx | 6FK5311-8AA30 | ks | 1 |  | 0
| 191 | SDI1-48 Digital Input Module 32 inputs: 48 V DC / 3,5 mA 19” standard packaging system | 6FK5317-8AA10 | ks | 1 |  | 0
| 192 | SDI2-24 Digital Input Module 32 inputs: 24 V DC / 0,7 mA 19” standard packaging system | 6FK5316-8AA10 | ks | 1 |  | 0
| 193 | SDI2-24 Digital Input Module 32 inputs: 24 V DC / 0,7 mA For installation in SBGx | 6FK5316-8AA30 | ks | 1 |  | 0
| 194 | SDO1-24 Digital Output Module 32 outputs: 24 V DC / 500 mA 19” standard packaging system | 6FK5312-8AA10 | ks | 1 |  | 0
| 195 | SDO1-24 Digital Output Module 32 outputs: 24 V DC / 500 mA For installation in SBGx | 6FK5312-8AA30 | ks | 1 |  | 0
| 196 | SDO1-48 Digital Output Module 32 outputs: 48 V DC / 125 mA | 6FK5318-8AA10 | ks | 1 |  | 0
| 197 | SEPC1 TXS Embedded PC For TXS gateway | 6FK5750-8BA | ks | 1 |  | 0
| 198 | SEPC2 TXS Embedded PC For TXS gateway | 6FK5750-8BA01 | ks | 1 |  | 0
| 199 | SGPIO1 General Purpose Input Output Module - 4 counter inputs - 4 analog inputs: -10 ... +10V 19” standard packaging system | 6FK5315-8AA10 | ks | 1 |  | 0
| 200 | SGPIO1 General Purpose Input Output Module - 4 counter inputs - 4 analog inputs: -10 ... +10V For installation in SBGx | 6FK5315-8AA30 | ks | 1 |  | 0
| 201 | SAA1 Analog Signal Module 2 channels | 6FK5248-8AA | ks | 1 |  | 0
| 202 | SNV1 Standard Signal Multiplier | 6FK5250-8AA | ks | 1 |  | 0
| 203 | SRB1 Relay Module, Medium Switching Capacity | 6FK5245-8AA | ks | 1 |  | 0
| 204 | SSI1 Fusing Module | 6FK5247-8AA | ks | 1 |  | 0
| 205 | AV42 Priority Module | 6FK5249-8AA | ks | 1 |  | 0
| 206 | AV42 Priority Module | 6FK5249-8CA | ks | 1 |  | 0
| 207 | AV42 Priority Module | 6FK5249-8CB | ks | 1 |  | 0
| 208 | AV42M Priority Module | 6FK5249-8AA02 | ks | 1 |  | 0
| 209 | SCR11 Analog Signal Conditioning for Control Rod Position Measurement in VVER Plants | 6FK5352-8BA04 | ks | 1 |  | 0
| 210 | SPT1 Pulse transformer | 6FK5361-8AA01 | ks | 1 |  | 0
| 211 | SPLM1-CMU1 Cabinet Monitoring Module | 6FK5331-8AA01 | ks | 1 |  | 0
| 212 | SPLM1-MU10 Monitoring Module | 6FK5331-8AA02 | ks | 1 |  | 0
| 213 | SPLM1-PL10 Protection Logic | 6FK5331-8AA06 | ks | 1 |  | 0
| 214 | SPLM1-PPS10 Rotational-Speed Measurement | 6FK5331-8BA01 | ks | 1 |  | 0
| 215 | SPLM1-PT10 Programmable Timer Module | 6FK5331-8AA04 | ks | 1 |  | 0
| 216 | SIC3 Signaling Module (1 pushbutton / 16 LED lamps, yellow) | 6FK5512-8BB03 | ks | 1 |  | 0
| 217 | SIC3 Signaling Module (1 pushbutton / 16 LED lamps, green) | 6FK5512-8CB03 | ks | 1 |  | 0
| 218 | SIC4 Signaling Module (2 pushbutton / 12 LED lamps, yellow) | 6FK5512-8BB04 | ks | 1 |  | 0
| 219 | SIC4 Signaling Module (2 pushbutton / 12 LED lamps, green) | 6FK5512-8CB04 | ks | 1 |  | 0
| 220 | SIC5 Signaling Module (18 LEDs, yellow) | 6FK5512-8BB05 | ks | 1 |  | 0
| 221 | SIC5 Signaling Module (18 LEDs, green) | 6FK5512-8CB05 | ks | 1 |  | 0
| 222 | ESS20 Electronic Circuit-Breaker for 24 V DC with overvoltage protection circuitry Current rating: 0,5 A | ESS20-003-DC24V- 0,5A-F | ks | 1 |  | 0
| 223 | ESS20 Electronic Circuit-Breaker for 24 V DC with overvoltage protection circuitry Current rating: 1 A | ESS20-003-DC24V- 1A-F | ks | 1 |  | 0
| 224 | ESS20 Electronic Circuit-Breaker for 24 V DC with overvoltage protection circuitry Current rating: 2 A | ESS20-003-DC24V- 2A-F | ks | 1 |  | 0
| 225 | ESS20 Electronic Circuit-Breaker for 24 V DC with overvoltage protection circuitry Current rating: 3 A | ESS20-003-DC24V- 3A-F | ks | 1 |  | 0
| 226 | ESS20 Electronic Circuit-Breaker for 24 V DC with overvoltage protection circuitry Current rating: 4 A | ESS20-003-DC24V- 4A-F | ks | 1 |  | 0
| 227 | ESS20 Electronic Circuit-Breaker for 24 V DC with overvoltage protection circuitry Current rating: 8 A | ESS20-003-DC24V- 8A-F | ks | 1 |  | 0
| 228 | SCBU2 Circuit Breaker Unit 2 U subrack for ESS20 electronic circuit breakers | 6FK5532-8AA01 | ks | 1 |  | 0
| 229 | SCBU2 Circuit Breaker Unit 2 U subrack for ESS20 electronic circuit breakers For installation in STS42-x/EMV | 6FK5532-8AA02 | ks | 1 |  | 0
| 230 | SCSU1 Cabinet Supply Unit 24 V DC; 3 U subrack for SSF1, SSD1 | 6FK5535-8AA02 | ks | 1 |  | 0
| 231 | SPS5 Power Supply Module 110 V DC // 24 V DC, 5 A | 6FK5552-8AA01 | ks | 1 |  | 0
| 232 | SPS6 Power Supply Module 220 V DC // 24 V DC, 5 A | 6FK5554-8AA01 | ks | 1 |  | 0
| 233 | SSF1 Supply Filter Module 24 V For SCSU1 | 6FK5537-8AA01 | ks | 1 |  | 0
| 234 | CTA1 Test adapter For electrolytic capacitors | 6FK5989-8AA | ks | 1 |  | 0
| 235 | PTA1 Test adapter For Power Density Distribution Detectors and Thermocouples | 6FK7943-8AA01 | ks | 1 |  | 0
Cenník pre SW balíky
| 236 | Functional Specification Database FunBase (for WINDOWS) - Viewer for customer - If I&C specification is engineered by the customer | 6FK5868-8AA | ks | 1 |  | 0
| 237 | Diagnostic Software for the TDI1 (for WINDOWS) | 6FK5983-8AA | ks | 1 |  | 0
| 238 | STT1 Configuration Software (for WINDOWS incl. USB/IrDA-Adapter) | 6FK7950-8AA01 | ks | 1 |  | 0
| 239 | AV42 Tool Software (for WINDOWS) | 6FK7951-8AA01 | ks | 1 |  | 0
Cenník pre opravy modulov TELEPERM XS
| 240 | SAA1 Analog Signal Module | 6FK5248-8BA | JV | 1 |  | 0
| 241 | SAI1_G Analog Input Module | 6FK5313-8AA10 | JV | 1 |  | 0
| 242 | SAO1 Analog Output Module | 6FK5314-8AA10 | JV | 1 |  | 0
| 243 | SBC1 Binary Signal Conditioning | 6FK5326-8AA00 | JV | 1 |  | 0
| 244 | SCB1 Capacitor Bank | 6FK5546-8AA | JV | 1 |  | 0
| 245 | SCBU2 Circuit Breaker Unit 2 | 6FK5532-8AA01 | JV | 1 |  | 0
| 246 | SCM1 Cable Module (SR-3U) | 6FK5580-8AA01 | JV | 1 |  | 0
| 247 | SCM2 Cable Module (SF-3U) | 6FK5580-8AA02 | JV | 1 |  | 0
| 248 | SCP3 Communication Processor 100Mbit/s | 6FK5301-8BF | JV | 1 |  | 0
| 249 | SCSU1 Cabinet Supply Unit 24V DC; | 6FK5535-8AA01 | JV | 1 |  | 0
| 250 | SDI1-24 Digital Input Module | 6FK5311-8AA10 | JV | 1 |  | 0
| 251 | SDM1 Diode Module | 6FK5332-8AA01 | JV | 1 |  | 0
| 252 | SDM2 Diode Module | 6FK5332-8AA02 | JV | 1 |  | 0
| 253 | SDM3-A Resistor module | 6FK7852-8AA01 | JV | 1 |  | 0
| 254 | SDM4 Diode Module | 6FK5332-8AA04 | JV | 1 |  | 0
| 255 | SDO1-24 Digital Output Module | 6FK5312-8AA10 | JV | 1 |  | 0
| 256 | SEPC2 Industrial CPU Board with low power embedded | 6FK5750-8BA01 | JV | 1 |  | 0
| 257 | SES1 TXS Ethernet Switch | 6FK5384-8AA | JV | 1 |  | 0
| 258 | SFAN1 Fan Unit for SRACK-1 | 6FK5547-8AA | JV | 1 |  | 0
| 259 | SFAN2 Fan Unit for SRACK-2 | 6FK5548-8AA | JV | 1 |  | 0
| 260 | SIC4 Instrument carrier module | 6FK5512-8AB04 | JV | 1 |  | 0
| 261 | SIC61 Instrument carrier module | 6FK5512-8AA09-Z | JV | 1 |  | 0
| 262 | SIC8 Instrument carrier module | 6FK5512-8AA11-Z | JV | 1 |  | 0
| 263 | SL22 Communication Module TXS Profibus | 6FK5302-8BA | JV | 1 |  | 0
| 264 | SLM2 Transmission rate 12Mbit/s | 6FK5381-8AA | JV | 1 |  | 0
| 265 | SMM1 Monitoring Module | 6FK5545-8AA | JV | 1 |  | 0
| 266 | SNV1-2.5 Standard Signal Multiplier | 6FK5250-8AA01 | JV | 1 |  | 0
| 267 | SOB1-24 Overvoltage Barrier rated voltage 24V | 6FK5325-8AA01 | JV | 1 |  | 0
| 268 | SOB1-48 Overvoltage Barrier rated voltage 48V | 6FK5325-8AA02 | JV | 1 |  | 0
| 269 | SPDM1 Potential Distribution Module (SR-3U) | 6FK5582-8AA01 | JV | 1 |  | 0
| 270 | SPDM2 Potential Distribution Module (SF-3U) | 6FK5582-8AA02 | JV | 1 |  | 0
| 271 | SPH11 Space holder module for SPLM2-PC11 | 6FK5331-8AA09 | JV | 1 |  | 0
| 272 | SPLM1-BL10 Programmable Logic Module – Basic Logic | 6FK5331-8AA05 | JV | 1 |  | 0
| 273 | SPLM1-CMU1 Programmable Logic Module - Cabinet Monitoring Unit | 6FK5331-8AA01 | JV | 1 |  | 0
| 274 | SPLM1-MU10 Programmable Logic Module - Monitoring Unit | 6FK5331-8AA02 | JV | 1 |  | 0
| 275 | SPLM1-PL10 Programmable Logic Module - Protection Logic | 6FK5331-8AA06 | JV | 1 |  | 0
| 276 | SPLM1-PT10 Programmable Logic Module - Programmable Timer | 6FK5331-8AA04 | JV | 1 |  | 0
| 277 | SPM1 Plug Module in SR-3U | 6FK5581-8AA01 | JV | 1 |  | 0
| 278 | SPM2 Plug Module in SF-3U | 6FK5581-8AA02 | JV | 1 |  | 0
| 279 | SPS2 Power Supply Module | 6FK5543-8AA | JV | 1 |  | 0
| 280 | SRACK-1 Sub-rack 24V DC; (SFAN1) | 6FK5501-8AA01 | JV | 1 |  | 0
| 281 | SRACK-2 Sub-rack 24V DC; (SFAN2) | 6FK5502-8AA01 | JV | 1 |  | 0
| 282 | SRB2 Relay Module | 6FK5246-8BA | JV | 1 |  | 0
| 283 | SSD1 Supply Diode Module | 6FK5541-8AA | JV | 1 |  | 0
| 284 | SSF1 Supply Filter Module | 6FK5537-8AA01 | JV | 1 |  | 0
| 285 | SVE2 Processing Module | 6FK5206-8BF | JV | 1 |  | 0
| 286 | QDS-CPU compactPCI PC-Board | 6FK5711-8CA | JV | 1 |  | 0
| 287 | QDS-Display 19" Touchscreen | 6FK5712-8CA | JV | 1 |  | 0
| 288 | QDS-SR 19" compactPCI SubRack | 6FK5710-8CA | JV | 1 |  | 0
| 289 | Panel AV42 2x12 Patch panel for AV42 modules | 6FK7820-8AA01 | JV | 1 |  | 0
| 290 | AV42M Priority Module | 6FK5249-8AA02 | JV | 1 |  | 0
| 291 | ETA-EL 0,5A Electronic Circuit Breaker for 24V DC; Current rating: 0.5A | ESS20-003-DC24V-0,5A-F | JV | 1 |  | 0
| 292 | ETA-EL 1A Electronic Circuit Breaker for 24V DC; Current rating: 1 A | ESS20-003-DC24V-1A-F | JV | 1 |  | 0
| 293 | ETA-EL 4A Electronic Circuit Breaker for 24V DC; Current rating: 4A | ESS20-003-DC24V-4A-F | JV | 1 |  | 0
| 294 | ETA-EL 8A Electronic Circuit Breaker for 24V DC; Current rating: 8A | ESS20-003-DC24V-8A-F | JV | 1 |  | 0
Prosím doplniť zoznam ďalších prípadných náhradných dielov s cenníkom
|  |  |  | ks | 1 |  | 0
|  |  |  | ks | 1 |  | 0
| Cena celkom v € bez DPH |  |  |  | 0
*Množstvá sú predpokladané a cena slúži len na vyhodnotenie ponúk