Preliminary Market Consultation Form

Title: Reverse Water Pumping at the Hričov HPP, Mikšová HPP and Považská Bystrica HPP Cascade Number: 2026/18205

| Tenderer's business name |  |
| --- | --- |
| Tenderer's address |  |
| Tenderer's registration details (Company ID No., Tax ID No.) |  |
| First name and surname |  |
| Email |  |
| Tel. |  |
| Signature |  |
| Date |  |

GENERAL DESCRIPTION OF THE TENDERER'S PROPOSAL

Note on the proposed technical solution The Contracting Authority has provided a description of the options under consideration, representing its concept of a possible implementation. The purpose of the Preliminary Market Consultation (PMC) is to verify the proposed technical design and, at the same time, identify solutions available on the market that use alternative technical approaches. In the individual sections of the PMC form, the Contracting Authority welcomes proposals for amendments reflecting the technical capabilities of economic operators; see the individual sections below.

TECHNICAL DESCRIPTION OF THE TENDERER'S PROPOSAL Technical proposals (technical description, site plans, cross-sections, etc.) for implementing the proposed reverse-pumping options V1 and V2.

Tenderer's opinion on options V1 and V2 as specified Option 1 Option 2

Proposal for a suitable pump type for the Hričov, Mikšová and Považská Bystrica sites

Recommended optimum number of pumping units

Preliminary scope of civil works and technological modifications

Estimated delivery times for the main components

Power supply requirements from the 10.5 kV or 22 kV system, if applicable

Risks associated with installation while the cascade is in operation

CONTRACTUAL QUESTIONS Requirements for advance payments: Requirements for bank guarantees: Impact of extending the warranty from 2 to 5 years on the price: Do you consider the following participation requirement in the planned procurement procedure to be proportionate and non-discriminatory? Participation requirement: The Tenderer shall submit a list of duly performed contracts (references), including ongoing contracts of the same or a similar nature as the subject matter of the contract, from the 15 years preceding the announcement of the procurement procedure. The Tenderer shall submit: - at least one reference demonstrating that the Tenderer prepared a technical design for water pumping using a separate pumping station and discharge pipeline with a design flow rate of at least 15 m³/s. The reference must include the design of a new pump or pump system with input power control and a new discharge pipeline with a diameter of at least 2,500 mm. The Tenderer shall also identify the customer for whom the contract was performed and specify its scope. - at least one reference demonstrating that the Tenderer prepared the technical design and constructed a pumping-station building or a similar facility. The Tenderer shall also identify the customer for whom the contract was performed and specify its scope. Tenderer's response: List of relevant references (the Tenderer shall provide a list of relevant references with a brief description of their scope):

OTHER QUESTIONS Do you consider the submitted technical specification to be sufficiently specific and clear, comprehensive, feasible, non-discriminatory and ensuring equal treatment? Please identify any ambiguities and provide explanations. Tenderer's response: Do you consider it efficient and appropriate to separate any part of the contract, as described in the technical specification, into a separate procurement and delivery lot? Tenderer's response: Do you consider the requirement for business liability insurance and liability insurance for the specific works to be proportionate? Do you also require the Contracting Authority to maintain insurance? Tenderer's response: What additional types and scope of information would need to be made available to enable you to prepare a relevant tender? Tenderer's response: Have you identified any part of or information in the procurement documents that would unjustifiably prevent you from participating or make your participation disproportionately difficult? If so, please specify which part and explain why. Tenderer's response: Which requirements set out in the technical specification have the greatest impact on the price? Tenderer's response: If the Contracting Authority were to consider applying an award criterion other than the lowest price, what non-price award criteria would you consider suitable and proportionate? Tenderer's response: