## Kalkulácia ND T2000
Návrh na plnenie kritérií - Dodávka ND pre prevádzkový riadiaci systém SPPA T2000 na bloky MO3,4
Obchodné meno: Sídlo: kontaktná osoba: tel.číslo: e.mail:
Poradové číslo položky | NÁHRADNÉ DIELY
| Názov ND | Typ zariadenia | Č. materiálu (SE) | Kvalifikačná trieda SE | Merná jednotka | Požadované množstvo | Jednotková cena v EUR bez DPH | Celková cena v EUR bez DPH
1 | 3SB3400-0B Switching element | Cabinet lamp | 2000256956 | A | ks | 10 |  | 0
2 | 3SB1902-4AJ LED, red | Cabinet lamp | 2000267270 | A | ks | 10 |  | 0
3 | 3SB3400-1A Lamp socket | Cabinet lamp | 2000267271 | A | ks | 10 |  | 0
4 | 3SB3501-0BA21 Switching command pushbotton, red | Cabinet lamp | 2000267272 | A | ks | 10 |  | 0
5 | W75086-D1-A65 Temperature monitor | Temperature monitoring | 2000267273 | A | ks | 10 |  | 0
6 | C79165-A3022-B11 Door button with fixing angle | Door contacts | 2000267274 | A | ks | 10 |  | 0
7 | 6DP9700-8AL00 Cylinder lock set for standard locking (2 pieces) | Door lock | 2000267275 | A | set | 10 |  | 0
8 | A5E02452135 Feeder diode with 1/4" threaded bolt | Feeder diode | 2000267276 | A | ks | 10 |  | 0
9 | C79458-L445-B50 Transfer module type 1 tier A | Transfer modules | 2000267277 | A | ks | 5 |  | 0
10 | C79458-L445-B51 Transfer module type 2 tier B | Transfer modules | 2000267278 | A | ks | 5 |  | 0
11 | C79458-L445-B91 Transfer module type 3 tier C/D | Transfer modules | 2000267279 | A | ks | 2 |  | 0
12 | C79458-L445-B70 I&C distribution module | Transfer modules | 2000267280 | A | ks | 2 |  | 0
13 | A5E02421152 Cover for protective circuit breaker | Protective circuit breaker | 2000270119 | A | ks | 2 |  | 0
14 | 2210-S210-P2M1-H131-2A Protective circuit breaker 2A | Protective circuit breaker | 2000270120 | A | ks | 50 |  | 0
15 | 2210-S210-P2M1-H131-4A Protective circuit breaker 4A | Protective circuit breaker | 2000270121 | A | ks | 25 |  | 0
16 | 2210-S210-P2M1-H131-8A Protective circuit breaker 8A | Protective circuit breaker | 2000270122 | A | ks | 50 |  | 0
17 | 6DP3401-8CA00 Suppressor diode | Protective circuit breaker | 2000267281 | A | ks | 50 |  | 0
18 | W75078-Z1-U901 Clamping screw for cabinet supply | Cabinet supply | 2000267282 | A | ks | 10 |  | 0
19 | W75078-C1005-A701 Screw terminal 35 mm² | Cabinet supply | 2000267283 | A | ks | 10 |  | 0
20 | C79451-A3446-C453 Contact clamp (U-bracket for screw terminal 35 mm² | Cabinet supply | 2000267284 | A | ks | 10 |  | 0
21 | C79121-Z230-A5 Shield connecting terminal | Shielding/Grounding | 2000267285 | A | ks | 10 |  | 0
22 | A5E301312203 Shield connecting terminal block for bus cable | Shielding/Grounding | 2000267286 | A | ks | 10 |  | 0
23 | C79451-A3446-C403 Blanking cover for non installed transfer modules/protective circuit breakers | Cover | 2000267287 | A | ks | 10 |  | 0
24 | C79451-A3446-C462 Cover for cabinet supply cable | Cover | 2000267288 | A | ks | 10 |  | 0
25 | 6DP9700-8AA Dummy for plate for non equipped FUM module slots | Cover | 2000267289 | A | ks | 20 |  | 0
26 | 41701395 Rack fuse slow blowing TR5 - 372 4A 250V | Module Fuses | 2000270123 | A | ks | 100 |  | 0
27 | 200040779 Cap for fuse TR5-372 | Cap for fuse | 2000270124 | A | ks | 100 |  | 0
28 | 41761178 Micro fuse 5 x 20 mm 522.521 2,5A 250 V 2.5 A flink/ blowing -F- | Module Fuses | 2000270125 | A | ks | 100 |  | 0
29 | A5E00047339 Micro fuse 5 x 20 mm superflink 520123 250 V 4.00 A Superflink/super quick -FF- | Module Fuses | 2000270126 | A | ks | 100 |  | 0
30 | W79054-L1011-T400 Micro fuse 5 x 20 mm 522.523 4A 250 V 4.0 A slow blowing -T- | Module Fuses | 2000270127 | A | ks | 100 |  | 0
31 | 6DP1210-8BC FUM210-GB+ COND, AS, MON, Alarm | FUM210-Module | 2000267290 | A | ks | 20 |  | 0
32 | 6DP1210-8BR FUM210 2DT | FUM210-Module | 2000267291 | A | ks | 10 |  | 0
33 | 6DP1230-8CC FUM 230 RTC Anag-sign-cond | FUM230-Module | 2000267292 | A | ks | 30 |  | 0
34 | 6DP1280-8AB FUM 280 Contin.-Cont.-Mo. and Coup.Mod. | FUM280-Module | 2000267293 | A | ks | 15 |  | 0
35 | 6DP1531-8AA FUM 531 COUPLING ANAG | FUM531-Module | 2000267294 | A | ks | 15 |  | 0
36 | 6DP1511-8AA FUM 511 COUPLING BIN | FUM511-Module | 2000267295 | A | ks | 30 |  | 0
37 | 6DP1511-8AR FUM511 2DT | FUM511-Module | 2000267296 | A | ks | 5 |  | 0
38 | 6DP1616-8BA IM 616 INTERFACE MODULE CONNECTS FUM B SUBRACK WITH PROFIBUS DPMASTER (E.G. AS-S7) | IM616-Module | 2000267297 | A | ks | 30 |  | 0
39 | 6DP2658-8BA01-0AA1 CM104-PIP6-PLATFORM FOR SPPA-T2000 OM690 S7, SINGLE DEVICE FOR REDUNDANT AND NON-REDUNDANT CONFIGURATIONS, SPARE PART, FLANGE MOUNTING MODBUS/TCP (MASTER ONLY) & TXS GATEWAY 5000 BLOCKS . SPPA-T2000 REL. 8.5 | CM104 Communication module; Protocol: Modbus over TCP/IP | 2000267298 | A | ks | 1 |  | 0
40 | 6DP2658-8BC01-0AA1 CM104-PIP6-PLATFORM FOR SPPA-T2000 OM690 S7, SINGLE DEVICE FOR REDUNDANT AND NON-REDUNDANT CONFIGURATIONS, SPARE PART, FLANGE MOUNTING IEC 60870-5-104 5000 BLOCKS . SPPA-T2000 REL. 8.5 | CM104 Communication module; Protocol: IEC60870-5-104 | 2000267299 | A | ks | 1 |  | 0
41 | 6DP2658-8BE01-0AA1 CM104-PIP6-PLATFORM FOR SPPA-T2000 OM690 S7, SINGLE DEVICE FOR REDUNDANT AND NON-REDUNDANT CONFIGURATIONS, SPARE PART, FLANGE MOUNTING S7/PCS7 -INTERFACE . SPPA-T2000 REL. 8.5 | CM104 Communication module; Coupling to S7/PCS7 | 2000267301 | A | ks | 1 |  | 0
42 | 6DP9903-8AA00 EU 903 SUB RACK WITH SUBD CONNECTOR FOR I/O CONNECTION TO FUM-B MODULES | EU 903 SUB RACK | 2000267302 | A | ks | 2 |  | 0
43 | 6ES7400-0HA01-4AB0 SIMATIC S7-400H, 414-4H PG STANDARD BUNDLE FOR SPPA-TX000 SYSTEM BUNDLE CONTAINS: 1 RACK UR2-H, 2 CPU 414-4H PG, 4 SYNC MODULE, 2 MEMORY CARDS 4MB, 2 FIBRE OPTIC CABLE, 2 CP443-1EX20, 4 BATTERIES FOR PS; 2 POWERSUPPLS MODULE (PS405 ODER PS4) | 414-4H PG STANDARD BUNDLE | 2000267306 | A | set | 3 |  | 0
44 | 6ES7405-0KA02-0AA0 SIMATIC S7-400, PS 405 POWER SUPPLY, WIDE RANGE 10A, 24/48/60V DC, 5V/10A DC ATEX APPROBATION IDENTIFICATION | PS 405 POWER SUPPLY | 2000267307 | A | ks | 5 |  | 0
45 | 6ES7414-4HR14-0AB0 SIMATIC S7-400H, CPU 414-4H PG CENTRAL UNIT FOR S7-400H 4 INTERFACES: 1 MPI/DP, 1 DP A. 2 FOR SYNC MODULES 12 MB MEMORY (2 MB CODE/10 MB DATA) ******************************* FOR ENERGY SECTOR CUSTOMERS ONLY | CPU 414-4H PG | 2000267308 | A | ks | 5 |  | 0
46 | 6ES7952-1AM00-0AA0 SIMATIC S7, RAM MEMORY CARD FOR S7-400, LONG VERSION, 4 MBYTES | Memory card 4MB | 2000267309 | A | ks | 5 |  | 0
47 | 6ES7960-1AA04-0XA0 SIMATIC S7-400H, SYNC SUBMODULE V4 FOR PATCH CABLES UP TO 10M | Synchronization module (4x include in BUNDLE) | 2000253392 | A | ks | 10 |  | 0
48 | 6ES7960-1AA04-5AA0 SIMATIC S7-400H, PATCH CABLE FO 1M FOR SYNC-MODULE | Synchronization cable | 2000267310 | A | ks | 5 |  | 0
49 | 6ES7971-0BA00 SIMATIC S7-400, BACK-UP BATTERY 3.6 V/2.3 AH FOR PS 405 4A/10A/20A AND PS 407 4A/10A/20A | Battery | 2000244849 | A | ks | 10 |  | 0
50 | 6GK1503-2CB00 PB OLM/G11 V4.0 OPTICAL LINK MODULE W. 1 RS485 AND 1 GLASS-FOC-INTERFACE (2 BFOC-SOCKETS); WITH SIGNAL. CONTACT AND MEASURING OUTPUT, | OLM/G11 V4.0 OPTICAL LINK MODULE | 2000267311 | A | ks | 5 |  | 0
51 | 6GK7443-1EX20-0XE0 COMMUNICATIONSPROCESSOR CP443-1 FOR CONNECTING SIMATIC S7-400 TO INDUST. ETHERN. VIA ISO, TCP/IP AND UDP, S7-COMM., FETCH/WRITE, SEND/RCV WITH AND W/O RFC1006, MULTICAST, PROFINET IO- CONTROLLER, DHCP, SNMP V2, WEB-, DIAGNOS., INITIALISATION VIA LAN, ACCESS PROTECTION VIA IP-ACCESS LIST, INTEGRATED REAL-TIME SWITCH ERTEC 400, 2XRJ45 CONNECT. FOR LAN WITH 10/100 MBIT/S | CP 443-1EX20 | 2000267312 | A | ks | 10 |  | 0
52 | 6GK7443-5DX04-0XE0 COMMUNICATIONSPROCESSOR CP443-5 EXTENDED FOR CONNECTION OF SIMATIC S7-400 TO PROFIBUS, DP, S5 COMPATIBLE PG/OP AND S7 COMMUNICATION | CP 443-5 Extended | 2000267313 | A | ks | 5 |  | 0
53 | C79165-A3022-B11 Door switch with mounting bracket | Door contacts | 2000267274 | A | ks | 10 |  | 0
54 | 6DP9700-8AL00 Cylinder lock kit for standard lock (2x) | Door lock | 2000267275 | A | set | 5 |  | 0
55 | A5E02588821 MM FUM side wire-wrap | Marshaling modules MM/Connection modules CM | 2000267315 | A | ks | 3 |  | 0
56 | A5E02588822 MM field side wire-wrap | Marshaling modules MM/Connection modules CM | 2000267316 | A | ks | 3 |  | 0
57 | A5E02588825 CM field side spring-loaded terminals | Marshaling modules MM/Connection modules CM | 2000267317 | A | ks | 3 |  | 0
58 | A5E02625985 SUB-D plug-in module for signal distribution | Marshaling modules MM/Connection modules CM | 2000267318 | A | ks | 5 |  | 0
59 | A5E02625969 SUB-D plug-in module for ground distribution | Marshaling modules MM/Connection modules CM | 2000267319 | A | ks | 5 |  | 0
60 | A5E02810251 Ground cable incl. plug for SUB-D plug-in module ground distribution | Marshaling modules MM/Connection modules CM | 2000267320 | A | ks | 5 |  | 0
61 | 2210-S211-P1F1-H111-2A Thermomagnetic circuit-breaker 2A | Thermomagnetic circuit-breaker 2A | 2000270088 | C | ks | 50 |  | 0
62 | 2210-S211-P1F2-Z111-1A Thermomagnetic circuit-breaker 1A | Thermomagnetic circuit-breaker 1A | 2000270089 | C | ks | 3 |  | 0
63 | SR2B122BD Zelio Logic | Zelio Logic | 2000267016 | C | ks | 3 |  | 0
64 | A5E03833442 Module M1L | Module M1L | 2000267246 | C | ks | 3 |  | 0
65 | A5E03833476 Module M1R | Module M1R | 2000267247 | C | ks | 3 |  | 0
66 | 104360000 EGT4 Push button | EGT4 Push button | 2000267340 | C | ks | 3 |  | 0
67 | 1173780000 Patch distributor PRV8 | Patch distributor PRV8 | 2000267341 | C | ks | 6 |  | 0
68 | 1267870000 Potential distributor PPV8 | Potential distributor PPV8 | 2000267341 | C | ks | 6 |  | 0
69 | 787-885 | Redundant module for decoupling | 2000267342 | C | ks | 6 |  | 0
70 | 857-1430 | Optocoupler Input: 2 x 24 V DC | 2000267343 | C | ks | 30 |  | 0
71 | 857-1430/001-000 | Wago-Module | 2000267017 | C | ks | 20 |  | 0
72 | 857-1430/002-000 | Wago-Module | 2000267017 | C | ks | 40 |  | 0
73 | 857-452 | Wago-Analog Module | 2000267344 | C | ks | 40 |  | 0
74 | 857-955 | Wago-Relay Fuse Module OC24V | 2000270133 | C | ks | 25 |  | 0
75 | S 281 UC-Z 0,5 Miniature circuit breaker | Miniature circuit breaker | 2000270134 | H | ks | 1 |  | 0
76 | S 282 UC-Z 0,5 Miniature circuit-breakers | Miniature circuit-breakers | 2000270135 | H | ks | 10 |  | 0
77 | S 2-H 11 Auxiliary element | Auxiliary element | 2000270136 | H | ks | 10 |  | 0
78 | 01700.002000 Fuse | Fuse | 2000270151 | H | ks | 2 |  | 0
79 | 01706.002000 Gauge piece | Gauge piece | 2000270152 | H | ks | 2 |  | 0
80 | 01713.700000 Retaining spring | Retaining spring | 2000270156 | H | ks | 2 |  | 0
81 | 05864.063000 D0-Linocure load interrupter | D0-Linocure load interrupter | 2000267345 | H | ks | 2 |  | 0
82 | 1923021 Terminal double connection UK 5-TWIN | Terminal double connection UK 5-TWIN | 2000267346 | H | ks | 10 |  | 0
83 | 3002225 Terminal double connection UK 3-TWIN | Terminal double connection UK 3-TWIN | 2000267347 | H | ks | 10 |  | 0
84 | 3TH20 31-0HX4 Contactor relays | Contactor relays | 2000267019 | H | ks | 6 |  | 0
85 | BYT230 PIV-400 Input decoupling diodes | Input decoupling diodes | 2000267348 | H | ks | 2 |  | 0
86 | 857-308 Socket with miniature switching relay | Socket with miniature switching relay | 2000267020 | H | ks | 30 |  | 0
87 | ETA 17-P10-Si Sockel. ETA 17-P10-Si Socket | Plug-in socket | 2000254328 | F | ks | 20 |  | 0
88 | ESS20-003-DC24V-1A ETA ESS20-Circuit-breaker 1A | Thermomagnetic circuit-breaker 1A | 2000270157 | F | ks | 30 |  | 0
89 | ESS20-003-DC24V-2A ETA ESS20-Circuit-breaker 2A | Thermomagnetic circuit-breaker 2A | 2000270162 | F | ks | 2 |  | 0
90 | ESS20-003-DC24V-3A ETA ESS20-Circuit-breaker 3A | Thermomagnetic circuit-breaker 3A | 2000270163 | F | ks | 1 |  | 0
91 | ESS20-003-DC24V-10A ETA ESS20-Circuit-breaker 10A | Thermomagnetic circuit-breaker 10A | 2000270164 | F | ks | 3 |  | 0
92 | SR2B122BD Zelio Logic | Compact smart relay Zelio Logic - 12 I/O - 24 V | 2000267016 | F | ks | 1 |  | 0
93 | 787-885 | Redundant module for decoupling of power supplies | 2000267342 | F | ks | 1 |  | 0
94 | 0104360000 EGT4-Taster Weidmüller | EGT4 Push button | 2000267368 | F | ks | 2 |  | 0
95 |  | Seismic Monitoring Cabinet and Accesssories |  | G | set | 1 |  | 0
96 | 676279/676281 14.11.1372-K MR2002-SM16 Digitizer/Recorder | MR2002-SM16 Digitizer/Recorder | 2000267475 | G | Súčasť setu | x
97 | 676279/676281 14.11.2602-K MR2002+ Acceleration Sensor +/-2g | MR2002+ Acceleration Sensor +/-2g | 2000267476 | G | Súčasť setu | x
98 | 676279/676281 14.11.1374 MR2002-SM24 Digitizer / Recorder HW Rev.1 | MR2002-SM24 Digitizer / Recorder HW Rev.1 | 2000267477 | G | Súčasť setu | x
99 | 676279/676281 14.11.4004 MS2005+ Acceleration Sensor +/-4g | MS2005+ Acceleration Sensor +/-4g | 2000267478 | G | Súčasť setu | x
100 | 676279/676281 14.11.4002 MS2005+ Acceleration Sensor +/-2g | MS2005+ Acceleration Sensor +/-2g | 2000267479 | G | Súčasť setu | x
101 | 676279/676281 14.11.0429 Network control Center, NCC, HW Rev.12 | Network control Center, NCC, HW Rev.12 | 2000267480 | G | Súčasť setu | x
102 | 676279/676281 Set of spare parts for NCC (Network control center) | Set of spare parts for NCC (Network control center) | 2000267481 | G | Súčasť setu | x
103 | 676279/676281 Set of spare parts for MR2002-SM16-K | Set of spare parts for MR2002-SM16-K | 2000267482 | G | Súčasť setu | x
104 | 676279/676281 Set of spare parts for MR2002-SM24-K | Set of spare parts for MR2002-SM24-K | 2000267483 | G | Súčasť setu | x
105 | 676279/676281 Set of electrical parts for Cabinet | Set of electrical parts for Cabinet | 2000267472 | G | Súčasť setu | x
106 | 676279/676281 Set of spare cables | Set of spare cables | 2000267474 | G | Súčasť setu | x
107 | 676279/676281 93.11.0089 Industrial PC with display, printer and keyboard | Industrial PC with display, printer and keyboard | 2000267022,2000267023,2000267024,2000267025 | G | Súčasť setu | x
108 | 676279/676281 93.11.2030 Batteries for MR's and NCC | Batteries for MR's and NCC | 2000270202 | G | Súčasť setu | x
109 | 676279/676281 74.21.0018 Batteries for RTC Backup | Batteries for RTC Backup | 2000266996 | G | Súčasť setu | x
110 | N79XMZ1C11GCAA SUN Netra 210 | SUN Netra 210 | 2000267350 | B | ks | 1 |  | 0
111 | N79XMZ2C12GCBA SUN Netra 210 | SUN Netra 210 | 2000267351 | B | ks | 1 |  | 0
112 | 6GK5101-1BB00-2AA3 SCALANCE X101-1 | SCALANCE X101-1 | 2000267353 | B | ks | 5 |  | 0
113 | 6GK5104-2BB00-2AA3 SCALANCE X104-2 | SCALANCE X104-2 | 2000267354 | B | ks | 5 |  | 0
114 | 6GK5108-0BA00-2AA3 SCALANCE X108 | SCALANCE X108 | 2000267355 | B | ks | 2 |  | 0
115 | 6GK5112-2BB00-2AA3 SCALANCE X112-2 | SCALANCE X112-2 | 2000267356 | B | ks | 2 |  | 0
116 | 6GK5307-3BL00-2AA3 SCALANCE X307-3 | SCALANCE X307-3 | 2000267357 | B | ks | 3 |  | 0
117 | 6GK5408-2FD00-2AA2 SCALANCE X408-2 | SCALANCE X408-2 | 2000267358 | B | ks | 3 |  | 0
118 | 6GK5492-2AL00-8AA2 Media module MM492-2 | Media module MM492-2 | 2000267359 | B | ks | 2 |  | 0
119 | 6EP1334-3BA00 SITOP power supply AC120/230V--DC24V/10A | SITOP power supply AC120/230V--DC24V/10A | 2000267360 | B | ks | 2 |  | 0
120 | 6EP1961-3BA21 SITOP redundance module | SITOP redundance module | 2000267361 | B | ks | 2 |  | 0
121 | 5SU1324-6FA06 Residual current protective device | Residual current protective device | 2000270165 | B | ks | 2 |  | 0
122 | 6DP9700-8AF00 Temperature Switch | Temperature Switch | 2000267362 | B | ks | 2 |  | 0
123 | 6DU1163-0AB00-1AA0 DTS4130.timeserver | DTS4130.timeserver | 2000267363 | B | ks | 1 |  | 0
124 | 68405 UPS Battery | EXB Module for PULSAR M2200/3000 | 2000267364 | B | ks | 4 |  | 0
125 | 68403 UPS Battery controlmodul | PULSAR M3000 RT | 2000267365 | B | ks | 4 |  | 0
126 | LP10000DC-M2 Host bus adapter | Host bus adapter | 2000267366 | B | ks | 1 |  | 0
127 | B84113H0000B116 Power line filter 250V 16A | Power line filter 250V 16A | 2000267367 | B | ks | 2 |  | 0
128 | 17-P10-Si Plug-in socket | Plug-in socket | 2000254328 | B | ks | 20 |  | 0
129 | 2210-S221-P1F2-Z111-2A Thermomagnetic circuit breaker 2A | Thermomagnetic circuit breaker 2A | 2000270168 | B | ks | 20 |  | 0
130 | 2210-S221-P1F2-Z111-4A Thermomagnetic circuit breaker 4A | Thermomagnetic circuit breaker 4A | 2000270169 | B | ks | 5 |  | 0
131 | 2210-S221-P1F2-Z111-6A Thermomagnetic circuit breaker 6A | Thermomagnetic circuit breaker 6A | 2000270170 | B | ks | 5 |  | 0
132 | 2210-S211-P1F2-Z111-0,5A Thermomagnetic circuit-breaker 0,5A | Thermomagnetic circuit-breaker 0,5A | 2000270171 | B | ks | 3 |  | 0
133 | 2210-S211-P1F2-Z111-2A Thermomagnetic circuit-breaker 2A | Thermomagnetic circuit-breaker 2A | 2000270172 | B | ks | 30 |  | 0
134 | 2210-S211-P1F2-Z111-4A Thermomagnetic circuit-breaker 4A | Thermomagnetic circuit-breaker 4A | 2000270173 | B | ks | 5 |  | 0
135 | 857-314 Relay socket with pluggable relay | Relay socket with pluggable relay | 2000267018 | B | ks | 10 |  | 0
136 | 0104360000 EGT4 Push button | EGT4 Push button | 2000267368 | B | ks | 5 |  | 0
137 | 80 121 000 532 357 EY-OS-23-100-120 | Large screens, Lamps | 2000267369 | E | ks | 2 |  | 0
138 | S26361-K1374-V140 657573 OM-Monitors B19-6LED | OM-Monitors 19" | 2000267370 | D | ks | 1 |  | 0
139 | S26361-K1319-V140 519328 OM-Monitors | OM-Monitors 19" | 2000267371 | D | ks | 1 |  | 0
140 | S26381-K340-L117 657573 Keyboard KBPC | Keyboard KBPC | 2000267372 | D | ks | 2 |  | 0
141 | S26381-K430-L100 657573 Mouse, PS2 | Mouse, PS2 | 2000267373 | D | ks | 2 |  | 0
142 | 6ES7647-7AJ30-0TA0 SIMATIC MICROBOX PC 427B | Thin client | 2000267375 | D | ks | 2 |  | 0
143 | 6ES7647-7BJ30-3XM0 "SIMATIC IPC427C (MICROBOX PC)," | Thin client | 2000267376 | D | ks | 7 |  | 0
144 | SW722A-R5 ServSwitch SW722A-R5 | KVM switch | 2000267339 | D | ks | 1 |  | 0
145 | 2744490 FL COM Server RS232 | FL COM Server RS232 | 2000267380 | D | ks | 1 |  | 0
146 | SL-8850-SBK | Vigo USB Soundcard | 2000267383 | D | ks | 1 |  | 0
147 | 124.01 Internal failure | Desk tiles | 2000267384 | D | ks | 1 |  | 0
148 | 125.01 Annunciation of alarm category 2 or 3 | Desk tiles | 2000267385 | D | ks | 5 |  | 0
149 | 126.01 RPS indication of 2 status signals | Desk tiles | 2000267386 | D | ks | 10 |  | 0
150 | 131.01 Annunciation of alarm category 4 | Desk tiles | 2000267388 | D | ks | 2 |  | 0
151 | 132.01 RPS Status indication | Desk tiles | 2000267389 | D | ks | 1 |  | 0
152 | 133.01 RPS indication of 3 status signals | Desk tiles | 2000267390 | D | ks | 1 |  | 0
153 | 134.01 Annunciation of I&C system fault Messages | Desk tiles | 2000267391 | D | ks | 2 |  | 0
154 | 135.01 RCS indication of status signal 1 of 3 | Desk tiles | 2000267392 | D | ks | 1 |  | 0
155 | 201.01 RPS Reset | Desk tiles | 2000267393 | D | ks | 1 |  | 0
156 | 201.02 Normal operation system Reset | Desk tiles | 2000267394 | D | ks | 1 |  | 0
157 | 203.01 Command "On / open" | Desk tiles | 2000267395 | D | ks | 1 |  | 0
158 | 204.01 Switchover "AUTOMATIC ON / OFF" | Desk tiles | 2000267396 | D | ks | 1 |  | 0
159 | 206.01 Single drive control | Desk tiles | 2000267397 | D | ks | 10 |  | 0
160 | 207.01 Single drive control with Stop | Desk tiles | 2000267398 | D | ks | 2 |  | 0
161 | 208.01 Setpoint adjuster | Desk tiles | 2000267399 | D | ks | 1 |  | 0
162 | 208.02 Group Command for two redundancies | Desk tiles | 2000267400 | D | ks | 1 |  | 0
163 | 209.01 SG Safety valve | Desk tiles | 2000267401 | D | ks | 1 |  | 0
164 | 210.01 Diesel Generator "STOP / START" | Desk tiles | 2000267402 | D | ks | 1 |  | 0
165 | 211.01 Closed loop control | Desk tiles | 2000267403 | D | ks | 1 |  | 0
166 | 212.01 ABT / RBT "SET". group command "ON / OPEN" | Desk tiles | 2000267404 | D | ks | 1 |  | 0
167 | 215.01 For group commands and subgroup control | Desk tiles | 2000267405 | D | ks | 1 |  | 0
168 | 220.01 Switchover "AUTOMATIC ON / OFF" | Desk tiles | 2000267406 | D | ks | 1 |  | 0
169 | 222.01 Lamp Test for SICS | Desk tiles | 2000267407 | D | ks | 1 |  | 0
170 | 223.01 For 3 preselection | Desk tiles | 2000267409 | D | ks | 1 |  | 0
171 | 301.01 Gong off, acknowledge, clear | Desk tiles | 2000267411 | D | ks | 2 |  | 0
172 | 301.02 Gong off, acknowledge, clear | Desk tiles | 2000267412 | D | ks | 1 |  | 0
173 | 302.01 Reactor trip | Desk tiles | 2000267413 | D | ks | 1 |  | 0
174 | 302.02 Turbine trip / Start emergency oil pump | Desk tiles | 2000267414 | D | ks | 1 |  | 0
175 | 303.01 ESFAS set | Desk tiles | 2000267415 | D | ks | 1 |  | 0
176 | 304.01 For RCS | Desk tiles | 2000267416 | D | ks | 1 |  | 0
177 | 305.02 Feed & Bleed ENABLE | Desk tiles | 2000267417 | D | ks | 1 |  | 0
178 | 305.03 Pressure test ENABLE | Desk tiles | 2000267418 | D | ks | 1 |  | 0
179 | 306.01 EQK AFTCL ALLOW | Desk tiles | 2000267419 | D | ks | 1 |  | 0
180 | 306.02 DG SYNCRO | Desk tiles | 2000267420 | D | ks | 1 |  | 0
181 | 306.03 PARAM RELEASE (RPS) | Desk tiles | 2000267421 | D | ks | 1 |  | 0
182 | 306.04 TEST/DIAG RELEASE (RPS) | Desk tiles | 2000267422 | D | ks | 1 |  | 0
183 | 306.05 PARAM RELEASE (RLS) | Desk tiles | 2000267423 | D | ks | 1 |  | 0
184 | 306.06 TEST/DIAG RELEASE (RLS) | Desk tiles | 2000267424 | D | ks | 1 |  | 0
185 | 306.07 PARAM RELEASE (PAMS) | Desk tiles | 2000267425 | D | ks | 1 |  | 0
186 | 306.08 TEST/DIAG RELEASE (PAMS) | Desk tiles | 2000267426 | D | ks | 1 |  | 0
187 | 306.09 Enable OPDIS | Desk tiles | 2000267427 | D | ks | 1 |  | 0
188 | 307.01 Control room switchover | Desk tiles | 2000267428 | D | ks | 1 |  | 0
189 | 308.01 Clear alarm category 1 | Desk tiles | 2000267429 | D | ks | 1 |  | 0
190 | 308.02 Reset of Reactor trip | Desk tiles | 2000267430 | D | ks | 1 |  | 0
191 | 308.03 Protection override | Desk tiles | 2000267431 | D | ks | 1 |  | 0
192 | 309.01 ESFAS set (functions causing Trip) | Desk tiles | 2000267432 | D | ks | 1 |  | 0
193 | 316.01 Release for SICS | Desk tiles | 2000267433 | D | ks | 2 |  | 0
194 | 321.01 EXCORE, Selectorswitch for Loudspeaker | Desk tiles | 2000267434 | D | ks | 1 |  | 0
195 | 322.01 Selectorswitch for Setpoint | Desk tiles | 2000267435 | D | ks | 1 |  | 0
196 | 323.01 EXCORE, Frequency Selector switch for Loudspeaker | Desk tiles | 2000267436 | D | ks | 1 |  | 0
197 | 324.01 EXCORE, Volume Control for Loudspeaker | Desk tiles | 2000267439 | D | ks | 1 |  | 0
198 | 350.01 Selector Alarm | Desk tiles | 2000267440 | D | ks | 1 |  | 0
199 | 350.02 Selector Auto Mode | Desk tiles | 2000267441 | D | ks | 1 |  | 0
200 | 401.01 For Temperature | Indicators, with 0-100% Scala, without graphur | 2000267442 | D | ks | 4 |  | 0
201 | 402.01 For Level | Indicators, with 0-100% Scala, without graphur | 2000267443 | D | ks | 4 |  | 0
202 | 403.01 For Position | Indicators, with 0-100% Scala, without graphur | 2000267444 | D | ks | 4 |  | 0
203 | 404.01 For Pressure, flow, speed | Indicators, with 0-100% Scala, without graphur | 2000267445 | D | ks | 5 |  | 0
204 | 405.01 For Position and deviation of CLC | Indicators, with 0-100% Scala, without graphur | 2000267446 | D | ks | 4 |  | 0
205 | 406.01 For electrical power, voltage, frequency | Indicators, with 0-100% Scala, without graphur | 2000267447 | D | ks | 5 |  | 0
206 | 501.01 Step Indication | Indicators, with 0-100% Scala, without graphur | 2000267448 | D | ks | 1 |  | 0
207 | 502.01 Digital Indicator, 1 decimal places | Indicators, with 0-100% Scala, without graphur | 2000267450 | D | ks | 1 |  | 0
208 | 503.01 Digital Indicator, 2 decimal places | Indicators, with 0-100% Scala, without graphur | 2000267451 | D | ks | 1 |  | 0
209 | 507.01 Digital Indicator, 2 decimal places | Indicators, with 0-100% Scala, without graphur | 2000267452 | D | ks | 1 |  | 0
210 | 508.01 Digital Indicator with minus, no decimal place | Indicators, with 0-100% Scala, without graphur | 2000267453 | D | ks | 1 |  | 0
211 | 509.01 Digital Indicator, no decimal place | Indicators, with 0-100% Scala, without graphur | 2000267454 | D | ks | 1 |  | 0
212 | 704.01 Loudspeaker for EXCORE | Loudspeaker | 2000267455 | D | ks | 1 |  | 0
213 | 801.01 Decoupling box - Mainboard | Connection | 2000267456 | D | ks | 4 |  | 0
214 | 802.01 Extension Box | Connection | 2000267457 | D | ks | 1 |  | 0
215 | 803.01 Gong coupling | Connection | 2000267458 | D | ks | 1 |  | 0
216 | 804.01 Buzzer coupling | Connection | 2000267459 | D | ks | 2 |  | 0
217 | 805.01 Relay Extension Box | Connection | 2000267378 | D | ks | 2 |  | 0
218 | 806.01 Box for unused RJ45 Plugs | Connection | 2000267379 | D | ks | 1 |  | 0
219 | 807.01 Preference Control Box | Connection | 2000267471 | D | ks | 1 |  | 0
220 | 905.01 Terminalboard for signals; Maxitermipoint; 5 Rows | Connection | 2000267172 | D | ks | 1 |  | 0
221 | 905.02 Terminalboard for potentials; Maxitermipoint; 5 Rows | Connection | 2000267173 | D | ks | 1 |  | 0
222 | 905.51 Terminalboard for signals; Maxitermipoint; 5 Rows | Connection | 2000267174 | D | ks | 1 |  | 0
223 | 905.52 Terminalboard for potentials; Maxitermipoint; 5 Rows | Connection | 2000267175 | D | ks | 1 |  | 0
224 | 910.01 Terminalboard for signals; Maxitermipoint; 10 Rows | Connection | 2000267157 | D | ks | 1 |  | 0
225 | 910.02 Terminalboard for potentials; Maxitermipoint; 10 Rows | Connection | 2000267158 | D | ks | 1 |  | 0
226 | 910.51 Terminalboard for signals; Maxitermipoint; 10 Rows | Connection | 2000267159 | D | ks | 1 |  | 0
227 | 910.52 Terminalboard for potentials; Maxitermipoint; 10 Rows | Connection | 2000267180 | D | ks | 1 |  | 0
228 | 915.01 Terminalboard for signals; Maxitermipoint; 15 Rows | Connection | 2000267181 | D | ks | 1 |  | 0
229 | 915.02 Terminalboard for potentials; Maxitermipoint; 15 Rows | Connection | 2000267182 | D | ks | 1 |  | 0
230 | 915.51 Terminalboard for signals; Maxitermipoint; 15 Rows | Connection | 2000267183 | D | ks | 1 |  | 0
231 | 915.52 Terminalboard for potentials; Maxitermipoint; 15 Rows | Connection | 2000267184 | D | ks | 1 |  | 0
232 | 920.01 Terminalboard for signals; Maxitermipoint; 20 Rows | Connection | 2000267185 | D | ks | 1 |  | 0
233 | 920.02 Terminalboard for potentials; Maxitermipoint; 20 Rows | Connection | 2000267186 | D | ks | 1 |  | 0
234 | 920.51 Terminalboard for signals; Maxitermipoint; 20 Rows | Connection | 2000267187 | D | ks | 1 |  | 0
235 | 920.52 Terminalboard for potentials; Maxitermipoint; 20 Rows | Connection | 2000267188 | D | ks | 1 |  | 0
236 | 925.01 Terminalboard for signals; Maxitermipoint; 25 Rows | Connection | 2000267189 | D | ks | 1 |  | 0
237 | 925.02 Terminalboard for potentials; Maxitermipoint; 25 Rows | Connection | 2000267190 | D | ks | 1 |  | 0
238 | 925.51 Terminalboard for signals; Maxitermipoint; 25 Rows | Connection | 2000267191 | D | ks | 1 |  | 0
239 | 925.52 Terminalboard for potentials; Maxitermipoint; 25 Rows | Connection | 2000267192 | D | ks | 1 |  | 0
Náhradné diely spolu bez DPH |  |  |  |  | 0
Poradové číslo položky | OSTATNÉ SLUŽBY
| Názov položky |  |  |  | Merná jednotka | Požadované množstvo | Jednotková cena v EUR bez DPH | Celková cena v EUR bez DPH
245 | Balenie |  |  |  | ks | 1 |  | 0
246 | Doprava |  |  |  | ks | 1 |  | 0
247 | Dokumentácia |  |  |  | ks | 1 |  | 0
CENA CELKOM v EUR bez DPH |  |  |  |  | 0
Note on C145: Hrapko Michal: napriklad ak budeme mat vymenit monitor, tak sa nam moze stat, ze kvoli kvalifikacii zaplatime 300 000 EUR